## Slide 1
DELHI JAL BOARD
JAL MANTHAN 2047
Ensuring 24×7 Quality Water for Every Citizen
Water Augmentation Infrastructure • SCADA & Smart Operation
Theme lead: R.K. Lakhera (Member – Water)
Working group lead: Sunil Kr Singh, CE(WW)-2
Dalbir Singh, CE(M)-2
Members:
R.P. Meena, SE(E&M)
D.K. Jain, E.E. (Planning)
Mayank Bhardwaj, AE(E&M)
Pawan Sharma, Urban Reform Expert(KPMG)
Rajat Ranjan, Consultant(KPMG)

## Slide 2
DELHI AT A DECISIVE POINT
"By 2047, DJB shall operate an integrated, resilient and intelligent water-supply system providing reliable 24×7 pressurised and quality water."
25M
Residents Served
~1,000
MGD Produced Today
250
MGD Demand-Supply Gap
~50%
Non-Revenue Water
From a water supply utility to a water security utility
Water Augmentation Infrastructure
SCADA &
Utility Automation
Smart Operations &
NRW Management

## Slide 3
Journey of Water Supply in Delhi…
From single legacy plant to an integrated smart water supply system
1
1935–50s
Chandrawal
Phase-1(35)
Phase-2(55)
2
1960s–90s
Wazirabad
Phase-1 (40)
Phase-2 (40)
Phase-3 (40)
3
2000s
Sonia Vihar (140), Nangloi (40)
6
7
4
5
2010s
Okhla (20), Dwarka (50),
Bawana (20),
Recy. Plants (45), CWG (1)
8
Technology Interventions
2020s
New WTP, SCADA & Upgrade
1970s
Haiderpur
Phase-1 (100)
1990s
Haiderpur
Phase-2 (100)
1980s
Bhagirathi (100)
35 MGD
1000 MGD
90 Years

## Slide 5
OLD vs. NEW CHANDRAWAL
OLD CHANDRAWAL
NEW CHANDRAWAL
Vintage
1935 & 1955
New-generation
(2026 Commissioning)
→
Capacity
~90 MGD
105 MGD
→
Monitoring
Legacy instruments
SCADA-enabled
→
Reliability
Ageing, breakdown risk
Modern & automated
→
Role
Legacy asset
Model for future DJB
→
From building water plants to building a resilient, intelligent water system
Notes: Benchmark for future

## Slide 6
DELHI'S WATER SUPPLY LANDSCAPE
9 Major WTPs
Installed capacity of 821 MGD across the city, running on 865 MGD
20 Ranney Wells & 6240 Tube Wells, Yield 135 MGD
Groundwater-based supplementary production
16,200 km Network
Distribution mains carrying water to consumers
123 + 480 Reservoirs
Primary UGRs and secondary UGRs / booster stations
Installed Capacity by WTP (MGD)
Chart: 
| Sonia Vihar | Bhagirathi | Wazirabad | Haiderpur - I & II | Chandrawal | Nangloi | Dwarka | Okhla/Bawana
Capacity (MGD) | 140 | 110 | 131 | 216 | 90 | 40 | 50 | 40

## Slide 7
Ammonia spikes in River Yamuna
Ageing, leak-prone assets
Challenges
Organic and inorganic pollution in Yamuna
High NRW
Limited availability of raw water
Skilled manpower gaps
Non uniform SCADA coverage
Rapid population growth
Uneven tail-end pressure

## Slide 8
BUILDING A WATER-SECURE DELHI
I
PILLAR I
Water Augmentation
Proposed and planned 235 MGD of new WTPs, upstream storage (Lakhwar, Renuka, Kishau) and 32.8 MGD of groundwater augmentation.
II
PILLAR II
III
PILLAR III
Smart Operations & NRW Management
District Metered Areas, pressure management and active leak detection, predictive maintenance.
SCADA & Automation
Real-time monitoring and supervisory control from source-to-consumer end.

## Slide 9
PILLAR - I
Water Augmentation Infrastructure
235 MGD of new treatment capacity across three greenfield plants
Proposed WTP | Capacity (MGD) | Planning Zone
Chhattarpur | 80 | DDA Zone J
Najafgarh | 75 | DDA Zone L
Iradat Nagar | 80 | DDA Zone P-1
Total | 235 | —
Diversified Water Source
32.8 MGD Groundwater
463 tube wells across 11 locations & 12 maintenance zones
Raw-Water Security
Renuka ji (~439 MGD), Lakhwar & Kishau upstream storage (to be allocated by UYRB)
Munak–Haiderpur Main
Dedicated transmission line resulting in saving of 68 MGD raw water
Revision of 1994 Yamuna water sharing agreement
Actualization of Himachal Agreement (~ 268 MGD)

## Slide 10
PILLAR - I
Water Augmentation Infrastructure
235 MGD of new treatment capacity across three greenfield plants
Najafgarh Proposed WTP
Chattarpur Proposed WTP
Iradat Nagar Proposed WTP

## Slide 11
PILLAR - II
Smart Operations & NRW Management
Measure every drop, monitor every zone, detect every leak, optimise every asset
Tier 1: Trunk Mains
Large steel & iron mains from WTPs to bulk storage; no tappings and house connections.
Tier 2: UGRs & Booster Stations
Receive bulk water from source, push into local zones at desired pressure.
Tier 3: District Metered Areas (DMAs)
Metered pockets of ~1,000–3,000 houses with isolated boundaries.
Water Balance Equation
Water Lost (NRW) = Total Water Entering the DMA − Total Water Billed to Consumers
Minimum Night Flow (MNF) Analysis
Monitored 2:00–4:00 AM to detect hidden leaks
Acoustic Leak Detection
Precisely locates and enables rapid repair
Smart Pressure Control Valves
Regulate pressure to reduce bursts and leakage

## Slide 12
NRW TRAJECTORY
From Nearly 50% Loss to a Global Benchmark
Chart: NRW (%)
| 2026 | 2032 | 2037 | 2042 | 2047
Non-Revenue Water (%) | 50 | 30 | 25 | 18 | 15
Drivers of Reduction
City-wide DMA rollout
Active leakage control & pressure management
Near Universal smart metering (AMR/AMI)
Regularization of unauthorized connections
Actualization of unaccounted flow.

## Slide 13
PILLAR - III
SCADA & Automation
Real-time monitoring and supervisory control from source-to-consumer end, enabled via DJB’s ICCC.
Bulk Transmission & Treatment
Smart flow meters at WTPs and raw-water pipelines.
Reservoir Automation
Pressure transmitters, level sensors, actuator valves at UGRs.
Distribution & Metering
AMI/AMR smart meters, DMA boundary flow meters, data loggers.
Fleet & Tanker Tracking
GPS enabled tracking and RFID filling points.
Source → WTP → Transmission → UGR → Pumping Station → DMA → Consumer
Value Chain

## Slide 14
DJB proposes a Delhi Water Operations & Intelligence Centre (ICCC) as the central command hub of the future utility.
SC
SCADA
• Real-time control of pumps, valves & reservoirs
• Automated alarms for equipment failure
GI
GIS
• Digital mapping of pipelines & assets
• Supports leak detection & network planning
WQ
Water Quality
• Continuous monitoring of chlorine, turbidity & pH
• Automated alerts for contamination risk
EE
Energy Efficiency
• Tracks energy consumed per MLD pumped
• Optimises pump scheduling to cut cost
CS
Customer Service
• Complaint tracking & resolution dashboard
• Mobile app & self-service for consumers
HM
Hydraulic Models
• Simulates network pressure & flow
• Guides capacity augmentation planning
NRW
Non-Revenue Water
• Tracks water losses from leaks & theft
• Prioritises zones for pipeline renewal
BR
Billing & Revenue
• Automated meter reading & billing
• Real-time revenue & collection dashboard
DIGITAL TRANSFORMATION
One Utility, One Data Platform, One Ecosystem
ICCC
Integrated Command & Control Centre as the single source of truth for DJB’s operations

## Slide 15
FUTURE TECHNOLOGIES
Emerging Technologies for Future Water Operations
Internet of Things
Dense sensor networks across plants, reservoirs and consumer premises.
AI & Machine Learning
Demand forecasting, NRW reduction, pump/reservoir optimisation.
Predictive Maintenance
Condition-based monitoring shifting corrective to preventive care.
Digital Twin
Virtual hydraulic models to simulate investments and emergencies.
Drone & Satellite Monitoring
Rapid inspection of facilities and subsurface leak detection.
Cloud & Edge Analytics
Scalable data management with low-latency edge processing.

## Slide 16
GOVERNANCE
Institutional Reform & Capacity Building
Performance-Based Governance
Shift from maintenance-based operations to KPI-driven network management.
Asset & Data Governance
GIS-based digital asset register aligned with ISO 55001, plus a cybersecurity framework for SCADA systems.
Capacity Building
Jal Sankalp Water Academy in partnership with educational institutions.
Water Availability & Pressure · NRW · Leak Response Time · Water Quality · Equipment Uptime · Complaint Resolution · Energy Efficiency
Key Performance Indicators

## Slide 17
CITIZEN SERVICES
Grievance Redressal Mechanism
Multi-Channel Citizen Access
Toll-free helpline, DJB mobile app, WhatsApp bot and citizen portal for grievance registration.
Time-Bound Resolution
Complaint categories mapped with resolution timelines, escalation matrix.
Transparency & Accountability
Real-time SMS/alerts, officer's accountability and dashboard.
Registration → Acknowledgement (within 24 hrs) → Field Verification → Time Bound Resolution → Citizen Feedback & Rating
Grievance Workflow

## Slide 18
INVESTMENT
Financing Framework
Government of NCT of Delhi
Primary investor via state budget/DJB capex for augmentation, network expansion & treatment upgrades.
GoI Programmes
Central grants under JJM (Urban), AMRUT 2.0 & Jal Shakti schemes support coverage, NRW reduction & smart-tech pilots.
Multilateral Institutions
Long-tenor, low-cost debt from World Bank/ADB/JICA/AIIB for capital-intensive assets, typically routed via sovereign guarantee.
PPP & Revenue Enhancement
Performance based PPP contracts.
Treated-wastewater sales to reduce budgetary dependence.

## Slide 19
PERFORMANCE ASSESSMENT
Vision 2047
Dimension | Current State (2026) | Desired 2047 State
Water availability | Demand-supply gap of ~250 MGD | Water-secure city
Non-Revenue Water | ~50% | < 15% (international benchmark)
Automation / SCADA | Partial, plant-level | Source-to-Consumer
Supply pattern | Intermittent | Universal 24×7 supply
Metering | Mechanical Meters | 100% smart metering
Asset management | Fragmented | GIS-based lifecycle management

## Slide 20
ROADMAP
Mission Horizons to 2047
5 Year Action Plan
Secure the Raw-Water Base
Integrated Water Security
A Water-Secure Delhi
Commissioning of Chandrawal new and Dwarka WTP
Progress on 235 MGD New WTPs + 32.8 MGD groundwater + raw water augmentation;
100% SCADA coverage of WTPs + primary UGR/BPS real time monitoring;
DMA coverage ~25% of network
Munak–Haiderpur conveyance system.
~30% NRW, 50% SCADA Coverage, ICCC operational
Commissioning of Lakhwar, Renukaji & Kishau upstream storage dams.
Scaling up of smart metering, DMA and SCADA coverage.
Commission the ICCC.
~25% NRW, ~80% SCADA Coverage
Expanding DMA and smart metering coverage across ~90% of the network.
~18% NRW, 95% SCADA Coverage
Universal 24×7 water supply.
15% NRW.
22,938 kms pipeline network coverage.
100% SCADA Coverage
2032
2037
2042
2047

## Slide 21
LEARNING FROM OTHERS
Best Practices
India's first fully private, 24x7 water supply city.
Real-time water quality checks build public trust in tap water.
Turns used water into clean supply through NEWater recycling.
Steady pipe upkeep and leak detection cut water loss for decades.
Smart sensors predict and fix pipe failures before they happen.
Puri
Singapore (PUB)
Tokyo & Phnom Penh
Thames, London
Nagpur

## Slide 22
Thank You!
JAL SANKALP 2047 | DELHI JAL BOARD